## Slide 1
Beamline Upgrade
for
Beata Walasek-Höhne
in behalf of BEA,
OPE, TRI, VAC,
ENG Department
and many others
involved in this
improvment

## Slide 2
High Acceptance Di-Electron Spectrometer
HADES comprises of six identical detector systems arranged as the segments of a circle.
This setup enables the detection of the majority of the particles produced during a collision in the target.
The HADES experiment poses two questions:
„What does the quark-antiquark cloud look like?”
“Why is it there?”
https://www-hades.gsi.de/

## Slide 3
Chart: Messpunkt
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
07.06.2011 | 15 | 1 | 1 | 0 | 1 | 1 | 3 | 3 | 4 | 4 | 6 | 50 | 30 | 0 | 15 | 160 | 90 | 140 | 50 | 20 | 10 | 6 | 1 | 9 | 10 | 25 | 90 | 100 | 950 | 320 | 200 | 20 | 75 | 40 | 35 | 30 | 400 | 100 | 110 | 350
08.07.2014 | 5.5 | 0 | 0 | 0 | 0 | 0 | 1.3 | 1.8 | 1.5 | 0 | 2.1 | 39.5 | 92.5 | 7.1 | 11.5 | 51 | 24.5 | 30.5 | 30 | 9.5 | 7.5 | 1.5 | 16.5 | 251 | 75.5 | 35 | 72.5 | 42.5 | 1000 | 750 | 1050 | 67.5 | 76.5 | 60.5 | 30.5 | 32 | 48 | 30 | 110 | 54
Motivation
NE5_Aktivitätsmessungen_07.06.11_08.07.14
Higher statistics is required
improve transmission
improve spill structure

## Slide 4
two of the dipole magnets (GHADMU1 and GHADMU2)
are rotated around beam axis
Beamline
GHADMU2
The beamline lies completely within NE-5 area
Notes: 4

## Slide 5
The beamline lies completely within NE-5 area
Beamline
NE-5 area
TH2 diagnostic chambers

## Slide 6
Beamline

## Slide 7
Beamline
GTH3MU1
GHADQD12

## Slide 8
Beamline
Beamline in front of pion target
GHADDK2

## Slide 9
The pion production target is shielded in a bunker and is remotely controlled
Pion Target

## Slide 10
Beamline
Beamline behind pion target
GHADMU1

## Slide 11
HADES experiment uses two kinds of beams:
low intensity heavy ion beam which interacts with a target inside the experimental area (called HADES target)
pion beam produced by an interaction of high-intensity ion beam with thick Beryllium target, upstream of the Hades target
Beamline

## Slide 12: HADES Beam Optics
There are two main types of ion optics, depending whether the pion production target is used (pion optics) or not (ion optics)
http://sapinski.web.cern.ch/sapinski/physics/HEST/HEST(2f)HAD(2f)experiment.html
Beam Optics

## Slide 13
Ion beam optics used for Beamtime 2019 was different than the one developed during the Engineering Run 2018 (different slow extraction settings)
stronger focusing of GTE1QD11 and smaller defocusing of GTE1QD12
These quadrupoles do not only provide focusing but are used for steering, especially at high rigidities
Result:
optics with significant better horizontal focusing but much larger vertical beta
function
Ion Optics: Mariusz`s focus

## Slide 14
Proposal for improvement

## Slide 15
CUPID
Scintillating screens are widely used in accelerator facilities for transversal beam profile
simple, reliable profile measurement system
used for beam alignment
most direct way of beam observation: complete 2D information

## Slide 16
CUPID

## Slide 17
CUPID
GUI
Rack
TH2DFA

## Slide 18
TH2DFA
CUPID
M. Sapinski et al. „Measurements and corrections of the GSI Transfer beam lines ion optics https://ipac2019.vrws.de/papers/mopgw024.pdf
QUADRUPOLE SCAN
Quadrupole scan allows to determine beam emittance and twiss parameters at the entrance of the quadrupole magnet (GTH2QD12). The scan is done by measuring the beam size on a downstream screen (GTH2DFA) while changing the strength of the magnet. Quadrupole strength variation rotates the phase space ellipse, the projections of beam ellipse are registered and its twiss parameters are calculated.

## Slide 19
SEM Foils
The task of the SEM-Foil detector is to measure the beam intensity of slowly extracted beams
determine, optimize and monitor the beam transmission
temporal beam structure
dedicated source of beam loss
new SEM design tested at HTP

## Slide 20
SEM Foils

## Slide 21
SEM Foils
TH2DK2
TH2DKA

## Slide 22
Beam loss monitoring system (BLM) is used to monitor the beam losses.
If beam interacts with the inner side of a beam tube, the lost particles hit the walls and create secondary particle showers, which can be observed and measured outside of the beam tube
BLM
plastic scintillators are very fast and suitable for all types of losses
the usage is recommended for loss rates up to few 107 counts per second
each detector has the same response function

## Slide 23
BLM
based on plastic scintillator
16 (18) locations along the HADES beamline
stand alone solution for LASSIE Data Acquisition System (HHT Dach)
fully FAIR compatible System

## Slide 24
1 | GS06DL5I | in font of magnetic Septum |  | 10 | GTH2DL3 | behind TH2QD12
2 | GS06DL5A | behind magnetic Septum |  | 11 | GTH2DL4 | behind TH2QD21
3 | GTE1DL1 | behind TE1QD12 |  | 12 | GTH2DL5 | in front of TH3MU1
4 | GTS1DL1 | behind TS1MU1 |  | 13 | GTH3DL1 | behind TH3MU1
5 | GTE2DL1 | behind TE2QT13 |  | 14 | GHADDL1 | in front of HADQD11
6 | GTE3DL1 | behind TE3MU1 |  | 15 | GHADDL2 | behind HADQD11
7 | GTH1DL1 | behind TH1QD12 |  | 16 | GHADDL3 | behind HADQD12
8 | GHHTDL1 | behind HHTMU1 |  | 17 | GHADDL4 | in front of HADQD41
9 | GTH2DL1 | behind TH2QD11 |  | 18 | GHADDL5 | behind HADQD42
BLM Locations

## Slide 25
BLM Locations
TH2DL3
TH3DL3

## Slide 26
BLM DAQ and GUI

## Slide 27
BLM Simulations
FLUKA study was performed in order to determine the optimum detector arraignment, size and position
typical simulation scenario: setup with two quadrupoles within NE-5 area
two loss location:
  horizontal in the first focusing quadrupole
  vertical loss in defocusing quadrupole
particle fluencies for protons, neutrons, electrons, gamma and heavy ions as a function of distance from the beam axis have been calculated

## Slide 28
BLM Simulations
signal in the detectors is generated by fast neutrons through elastic scattering in detector material
contribution from protons is smaller and gradually decreases with distance
other particle types can be neglected
the estimated BLM signal as a function of distance from the beam axis for two BLM
positions and two loss scenarios. The signal from loss in the first quadrupole, seen by second detector, is significantly lower than the signal from loss in the second quadrupole

## Slide 29
BLM Study
Study has been started in order to obtain quantitative description of beam loss
typical simulation scenario: setup with two quadrupoles within NE5 area
one loss location: SEM Foils
particle fluencies have been scored in tree positions
Cs-137
source
detector positions

## Slide 30
vertical and horizontal halo monitors
each of them is made of 2 scintillators which can be gradually moved into the beam using stepping motors
allow to monitor halo of slow extracted beams
Halo Monitors

## Slide 31
TH2DKY Vertikal
TH2DKZ Horizontal
Halo Monitors

## Slide 32: Singh Method
experimentally demonstrates that by introduction of further kHz-modulation on quadrupole currents with a specific amplitude and frequency, the inherent power supply fluctuations are mitigated leading to a smoothening of the beam temporal structure
R. Singh et al. „Smoothing of the slowly extracted coasting beam from a synchrotron“
submitted on 19th of April 2019 https://arxiv.org/abs/1904.09195
Rahul`s talk in six weeks
“Transit time dependent tune modulation”

## Slide 33: Summary
https://web-docs.gsi.de/~webhades/onlineMon/mar19/hades-online.html

## Slide 34: Thank You! M. Sapinski, P. Boutachkov, H. Bräuning, S. Damjanovic, C. Dorn, H. Graf, T. Hoffman, C. Andre, R. Singh, P. Forck, RoFi, H. Reeg, A. Petit, C. Schmidt, H. Rödl, K. Steiner, M. Schwickert, S. Sorge, P. Schütt, S. Reimann, E. Nickchen, G. Zeitträger our HADES collegues and many, many others ...